Fire Department Site Plan Review Checklist

Minnesota State Fire Code

| Project / Point of Contact Information |  |
| --- | --- |
| Project Name: Click here to enter text. |  |
| Address: Click here to enter text. |  |
| Contact Name: Click here to enter text. | Contact Phone: Click here to enter text. |
| Contact Address: Click here to enter text. |  |
| Contact Email: Click here to enter text. |  |

| Designer / Engineer Information |  |
| --- | --- |
| Company Name: Click here to enter text. |  |
| Address: Click here to enter text. |  |
| Contact Name: Click here to enter text. | Contact Phone: Click here to enter text. |
| Contact Email: Click here to enter text. |  |

| Project Type (if multi-use development, check all that apply) |  |  |
| --- | --- | --- |
| ☐ Assembly | ☐ Hazardous | ☐ Residential – Multi-unit |
| ☐ Business | ☐ Institutional | ☐ Storage/Warehouse |
| ☐ Educational | ☐ Mercantile/Retail | ☐ Utility/Miscellaneous |
| ☐ Factory/Industrial | ☐ Residential – 1&2 Family | ☐ Other: Click here to enter text. |
| Description/Comments: Click here to enter text. |  |  |

| Construction Type (if multiple types, check all that apply) |  |
| --- | --- |
| ☐ Type I-A (Noncombustible Fire Resistive) ☐ Type I-B (Noncombustible Fire Resistive-Modified) ☐ Type II-A (Protected Noncombustible) ☐ Type II-B (Unprotected Noncombustible) ☐ Type III-A (Protected Combustible) | ☐ Type III-B (Unprotected Combustible) ☐ Type IV (Heavy Timber) ☐ Type V-A (Protected Wood Frame) ☐ Type V-B (Unprotected Wood Frame) |

Fire Apparatus Access (Y=yes; N=no; N/A=not applicable)

Y  N N/A							           Y  N N/A

☐ ☐ ☐ Site access appears adequate-MSFC 503.1.2

☐ ☐ ☐ All portions of buildings within 150 ft. (increase for sprinklers)-MSFC 503.1.1.1

☐ ☐ ☐ Road width: 20 ft. minimum (16 ft. if sprinklers)-MSFC 503.2.1

☐ ☐ ☐ Road height: 13’6” minimum-MSFC 503.2.1

☐ ☐ ☐ All weather driving surface-MSFC 503.2.3

☐ ☐ ☐ Turning radius acceptable-MSFC 503.2.4

☐ ☐ ☐ Dead-ends more than 150 ft. long to have turn-arounds (300 if sprinklers)-MSFC 503.2.5

☐ ☐ ☐ Bridges & elevated surfaces acceptable-MSFC 503.2.6

☐ ☐ ☐ Grade of roadway acceptable-MSFC 503.2.7

☐ ☐ ☐ Approach/departure angles acceptable-MSFC 503.2.8

☐ ☐ ☐ Fire lanes & marking adequate-MSFC 503.3

☐ ☐ ☐ Fire apparatus roads unobstructed-MSFC 503.4

☐ ☐ ☐ Security gates and barriers acceptable-MSFC 503.5 & 503.6

Premise Identification & Key Box (Y=yes; N=no; N/A=not applicable)

Y  N N/A							          Y  N N/A

☐ ☐ ☐ Address legible/visible-MSFC 505.1

☐ ☐ ☐ Address provided – minimum height: 4”-MSFC 505.1

☐ ☐ ☐	Street / road signs provided-MSFC 505.2

☐ ☐ ☐	Key box provided-MSFC 506.1

| Firefighting Water Supply Type |  |
| --- | --- |
| ☐ Municipal supply / hydrants ☐ Private supply / hydrants ☐ Private supply / tank(s) | ☐ Private supply / reservoir ☐ Dry hydrants ☐ Other: Click here to enter text. |

| Needed Fire Flow – Method Used |  |
| --- | --- |
| ☐ IFC Appendix B ☐ ISO / NFPA 1142 ☐ Iowa State University Formula (L x W x H / 100) | ☐ MN State Fire Code for rural areas-MSFC 507.3 ☐ National Fire Academy ☐ Other: Click here to enter text. |
| Needed Fire Flow = Click here to enter text. GPM | Existing Fire Flow = Click here to enter text. GPM (@20 psi) |

Firefighting Hydrants (Y=yes; N=no; N/A=not applicable)

Y  N N/A							          Y  N N/A

☐ ☐ ☐ Hydrants provided-MSFC 507.5.1

☐ ☐ ☐	Hydrant maximum distance: 300 ft.-MSFC 507.5.1

☐ ☐ ☐	Hydrant maximum distance: 400 ft. (sprinklers)-MSFC 507.5.1

☐ ☐ ☐	Hydrant maximum distance: 400 ft. (R3/U)-MSFC 507.5.1

☐ ☐ ☐	Hydrant maximum distance: 600 ft. (R3 & sprinklers)-MSFC 507.5.1

☐ ☐ ☐	Hydrants unobstructed-MSFC 507.5.4

☐ ☐ ☐	Hydrant clear space: 3 ft.-MSFC 507.5.5

☐ ☐ ☐	Hydrant impact protection provided-MSFC 507.5.6

Comments / Notes

Click here to enter text.

| Reviewed By |  |
| --- | --- |
| Name: Click here to enter text. | Date: Click here to enter text. |
| Title: Click here to enter text. |  |

Developed: April, 2019